## Slide 1: 2012 ACB National Audit of Tumour Marker Service Provision
Peter West
Consultant Biochemist
North Middlesex University Hospital NHS Trust

## Slide 2
There were a total of 80
responses to the audit
questionnaire
England 60
Scotland 11
N Ireland 6
Wales 3

## Slide 3
Ten of the hospitals mentioned that they were part of a network
Tertiary centres were the Royal Brompton and Harefield NHS
Trust and the Christie Cancer Centre
Number

## Slide 4: Question1-What tumour markers are offered by your laboratory?
Marker On site Within managed Referred Not routine
network requested
AFP 72 7 1 0
HCG 68 6 6 0
PSA 75 2 1 0
CEA 72 6 2 0
CA125 71 6 2 0
CA15-3 38 12 23 7
CA19-9 56 14 9 1
Calcitonin 8 8 63 1
Her 2-Neu 0 0 9 71
Inhibin 0 1 55 24
NSE 1 0 31 48
Thyroglobulin 16 9 54 1
S100 1 0 20 59
Some assays not offered by either Birmingham Women’s Hospital or Birmingham
Children’s Hospital

## Slide 5: Question 1-Other markers mentioned
On site Bence Jones Protein and paraproteins,LDH and placental alkaline phosphatase
Referred Placental alkaline phosphatase,5HIAA,SCC and neuroendocrine screen

## Slide 6: Question 2-Does your laboratory have an oncology unit on site?
Number

## Slide 7: Question 2a-If there is an oncology unit on site,what type of centre?
Number

## Slide 8: Question 3-Does your laboratory produce guidelines for use of tumour markers?
Two laboratories that responded no mentioned that these were in
progress and one, the Women’s Hospital that these were
produced by the gynaecology consultants
Number

## Slide 9: Question 3a-What professional groups contributed to the guidelines?
The other was the Kent and Medway Cancer Network
Number

## Slide 10: Question 3b-Which guidelines were considered when devising local ones?
PBCN Pan Birmingham Cancer Network
EGTM European Group on Tumour Markers
SIGN Scottish Intercollegiate Guidelines
NACB National Academy of Clinical Biochemistry
ASCO American Society of Clinical Oncology
Number

## Slide 11: Question 3c-Are the guidelines readily available for junior doctors and other health care professionals?
25 laboratories stated that these were available
Number

## Slide 12: Question 3d-Do laboratory staff meet regularly with relevant clinicians to review the guidelines?
Two of the laboratories responding yes mentioned that this was on a
quarterly basis with the other two providing no more information
Number

## Slide 13: Guidelines from Northumbria Healthcare NHS Foundation Trust
Tumour Markers-Indications for measurement
These have a column for prostate,liver,germ cell tumours,ovary,breast,pancreas(upper GI),and GI Tract(colorectal) cancers,listing the main tumour marker,whether they are useful for general screening,for diagnosis,whether they are a good prognostic indicator,good for monitoring treatment and a column listing other causes of raised levels for each marker

## Slide 14: Guidelines from Royal Surrey County Hospital
Tumour Marker Testing
These have an introduction to tumour markers, a section on the frequency of testing of tumour marker levels for chemotherapy,radiotherapy,remission,a section on tumour marker 'screens’ for those patients with metastases but unknown primary tumour and for patients with symptoms but no known malignant disease and a table with a column listing the type of tumour-testicular,prostate,colorectal,primary liver cancer,ovarian,breast,gastric,bladder,pancreatic,cervical,lymphoma,monoclonal gammopathies,parathyroid,thyroid and lung cancers,a column for screening/early detection, diagnosis/case finding,staging/prognosis,detecting recurrence and for monitoring therapy

## Slide 15: Guidelines from Dumfries and Galloway Royal Infirmary
Biochemistry Department Guideline for Tumour Markers
This has information about the CA125 reference range, limitations of CA125 measurements,CA19-9 intelligent requesting,CEA –reporting units, reference range and intelligent requesting and age-related PSA reference ranges in line with the South East Scotland Cancer Network

## Slide 16: Guidelines from Bangor
Guidelines for the use of Tumour Markers excluding PSA
Introduction to tumour markers, important points about tumour markers such as that no marker in current use is specific for malignancy and that marker levels are rarely elevated in patients with early malignancy, a section of available tumour markers, and the main clinical indications for AFP,HCG,CA125,CEA,CA15-3 and for each of these those malignancies with elevated levels,benign conditions which may have elevated levels and physiological conditions with elevated levels and a short section on cancer of unknown primary origin

## Slide 17: Guidelines from University Hospital of Wales
Guidance for the use of tumour markers in pelvic masses
Adapted from the FIGO staging booklet and the SIGN guidelines on epithelial ovarian cancer
It lists for all age groups CA125 and CEA and for those aged less than 40 years AFP,HCG and other tumour markers CA19-9 and CA15-3
There is emphasis on the fact that it is not helpful to blanket screen with markers as they are not specific or sensitive enough to be used in that way
Guidelines for Tumour Marker requests in General Surgery
Only individual tumour markers should be requested
Mentions CEA,CA19-9,AFP for males and females and PSA in males and CA125 in females.
The use of each of these markers for diagnosis and monitoring together with frequency of monitoring is discussed

## Slide 18: Guidance from Royal Victoria Hospital,Belfast
Guidelines for the use of tumour markers-ACBI
This has an introduction to tumour markers and lists the markers,AFP,CA125,CA15-3,CA19-9,CEA,HCG,PSA and for each of these refers to their structure,physiogical function,malignancies with elevated levels,benign conditions which may have elevated levels, physiological conditions with elevated levels,main clinical applications, reference range,half life and comment on the assay.
Included for PSA are aged related reference ranges, the effects of urological manipulations on PSA levels and the effect of drugs on PSA levels
A section on Free PSA includes the form in the serum, main clinical applications, type of sample,% cancer probability for each range of %free PSA
A section on the use of serum markers in the diagnosis of cancers of unknown primary origin,tissue markers in breast cancer(oestrogen and progesterone receptors ,Her-2 and urokinase plasminogen activator

## Slide 19: Guideline from Royal Berkshire Hospital
Guidelines for Tumour Marker Requesting
This mentions the main use of tumour markers being to establish pre-treatment levels at the time of definitive diagnosis which gives the baseline for subsequent monitoring for recurrence and mentions that if the relevant marker was not raised at diagnosis that it cannot be used for subsequent monitoring.
It gives examples such as CA125 for proven ovarian cancer ,PSA for proven prostate cancer and CA19-9 for proven pancreatic cancer
It also has advice for specific scenarios such as when a patient is merely suspected as having malignancy such as unexplained weight loss that measurement of tumour markers is not indicated, that in a female with a pelvic mass of likely ovarian origin that measurement of CA125 is indicated, in a male patient with multiple bony metastases and no known primary site that measurement of PSA is indicated and AFP is indicated for screening/surveillance of hepatoma in cirrhotics

## Slide 20: Guideline from Eastbourne and Conquest Hospitals
Guidance on the requesting of tumour markers
This has a section on general guidance for tumour markers including that no serum marker in current use is specific for malignancy, and sections on PSA,CEA,CA125,CA15-3,CA19-9,AFP and under each marker their main use and the fact that the marker may be raised in a number of other malignancies and benign conditions

## Slide 21: Guideline from Southmead Hospital
Guideline for CA19-9 requesting
This describes where measurement of CA19-9 is of most value,its use in diagnosis of pancreatic cancer,cholangiocarcinoma and in monitoring and prognosis
Guideline for CEA requesting
This describes where measurement of CEA is of most value and its use in diagnosis ,monitoring and prognosis

## Slide 22: Guideline for Chesire Hospitals
There is only guidance for PSA and lists age-related reference ranges,that a total PSA above 15 ug/l indicates a high probability of prostatic cancer and greater than 75 ug/l strongly suggests metastatic disease
In addition to prostatic cancer, elevated total PSA may be found in patients with benign prostatic hypertrophy, undergoing prostate manipulation, those with acute retention of constipation and those undergoing catheterisation

## Slide 23: Guideline from North Middlesex University Hospital NHS Trust
Guidelines for the appropriate use of tumour markers
This has an introduction to tumour markers,general information related to specificity,screening,diagnosis,monitoring,interpretation of results,reference ranges,and the use of the following specific tumour markers-AFP,CA125,CA15-3,CA19-9,CEA,neuron specific enolase,HCG,her 2/neu,thyroglobulin,chromogranin A,squamous cell carcinoma antigen,inhibin,PSA,patients with metastatic malignant disease of unknown primary origin, a table of the most frequently requested serum tumour markers and the current recommendations of the National Academy of Clinical Biochemistry, a table of the most frequently requested tumour markers and typical clinical presentations that might prompt a request for them and factors that might influence interpretation of tumour marker results such a lifestyle factors and medical investigation and intervention

## Slide 24: Guideline from University Hospital,North Staffordshire
Tumour markers:uses and pitfalls
This mentions HCG- mainly used to monitor gestational trophoblastic disease and germ cell tumours,CEA being raised in any adenocarcinoma and mainly used to monitor colorectal cancer,CA15-3 to monitor breast cancer,CA19-9 raised in pancreatic adenocarcinomas and in about 30-50% of gastric carcinoma,CA125 should be used to monitor ovarian cancer and to check for recurrence and to aid diagnosis when a pelvic mass is seen,PSA being raised in prostate cancer and AFP being raised in hepatocellular carcinioma,hepatoblastoma and non seminomatous germ cell carcinomas

## Slide 25: Question 4-Does your laboratory carry out a local audit of the tumour marker service?
Number

## Slide 26: Question 4a-If a local audit is performed,how often is this done?
8 laboratories mentioned that this was done annually
1 laboratory mentioned that this was done monthly
I laboratory mentioned that this was done 6 monthly
1 laboratory mentioned that this was done every 1-2 years
4 laboratories mentioned that this was done every 2 years
3 laboratories mentioned that this was done every 3 years
3 laboratories mentioned that this was done every 2-3 years
3 laboratories mentioned that this was done every 5 years
4 laboratories mentioned that this was on an ad hoc basis
1 laboratory mentioned that this was in response to certain issues eg:workload for CA125

## Slide 27: Question 5-Does your laboratory routinely review any tumour marker requests?
Number

## Slide 28: Question 5a-Which requests are reviewed?
AFP 11
HCG 12
CA125 20
CA15-3 25
CA19-9 28
PSA 12
Calcitonin 22
CEA 17
Her2-Neu 5
Inhibin 19
NSE 12
S100 11
Thyroglobulin 25
All send away tests 35
Those with>2 markers 1
GP requests 1

## Slide 29: Question 5b-Which staff members assess the appropriateness of the requests?
Two mentioned other-one said that this was specimen reception staff for
CA125 for males,the other that this was automated
Number

## Slide 30: Question 5c-What are the most common reasons for rejecting requests?
Number

## Slide 31: Question 5-Reasons given as other
PSA in females
No or inappropriate clinical details given
Inappropriate marker for the suspected cancer
Clinically inappropriate
CA19-9 if no suggestion of pancreatic disease in the clinical details
Thyroglobulin in patients without known thyroid cancer
CEA in those with no history of colorectal cancer
CA15-3 if not for breast cancer follow up
Inhibin not done if not for ovarian granuloma surveillance
Inhibin rejected for screening
CA15-3 in males
No clinical details to justify a send away tumour marker request
Multiple tumour marker request-fishing/screening

## Slide 32: Question 6-Does your laboratory often receive requests from Accident and Emergency for a tumour marker screen?
Number

## Slide 33: Question 6a-If you receive a request,how do you respond ?
Reject request and add a standard comment suggesting that the requesting doctor contacts Biochemistry to discuss-save the sample
Standard comment about’fishing’
Store the sample and discuss with the requesting doctor
Check the record for any obvious marker required
Comment added that tumour markers are not good screening tests
Discuss with the requesting clinician
Add a comment that it is not appropriate to measure tumour markers to screen for malignancy and that specific tumour markers are of use once a tissue diagnosis has been made after definitive pathology established and then please send a sample for a specific marker
Reject request unless receive a call from the requesting doctor
Inappropriate request comment is validated by the Chemical Pathologist

## Slide 34: Question 7-Are tumour markers restricted to particular grades of yes?
The one laboratory that mentioned yes mentioned that this was
restricted to consultant staff only
Number

## Slide 35: Question 8-Does your laboratory generally accept requests from GPs for tumour markers?
One laboratory responded that,as a tertiary referral centre that it
did not receive samples from GPs
Number

## Slide 36: Question 8a-If you receive requests from GPs,under what circumstances are they accepted?
Single marker requests accepted.Multiple markers usually rejected apart from HCG and AFP in NSGCT(non seminomatous germ cell tumour)
GPs can have any in house assay-only the send away tests are vetted
Follow up and monitoring samples post treatment
CA125 and PSA- most given answer
When clinical details are appropriate
If GP monitoring is on behalf of a specialist unit
All accepted except CA125 and CA15-3 in males,PSA in females
CA125 and PSA.The allowed if for secondary care follow up
AFP,LDH and HCG in? germ cell tumour
If in line with NICE for CA125
Allow without restriction-given by several laboratories
Monitoring of oncology patients
Abnormal HCG in the absence of pregnancy in females
?ovarian mass with positive clinical findings
PSA in ?enlarged prostate gland

## Slide 37: Question 9-Please state when tumour markers are available in your laboratory?
Eight laboratories mentioning 24/7 stated that this was HCG
Number

## Slide 38: Question 9a-Urgent requesting of tumour markers
HCG requests-most quoted test
CA125 before surgery
Specific consultant discussion with the laboratory
Discuss on a case by case basis with the Duty Biochemist
If discussed with the on call Biochemistry consultant
Urgent AFP may be available following consultant level discussion

## Slide 39: Question 10-Does the laboratory ever measure tumour markers in cyst,pleural fluid or CSF?
A number of laboratories that responded no mentioned that these were
sent away for analysis
Number

## Slide 40: Question 10a-If yes,please state which fluids and which markers?
Pancreatic cyst fluid CEA and CA199
CSF AFP
Fluid CEA and CA125
Pituitary cyst lesion AFP and HCG
CSF AFP and HCG-most quoted response
Pancreatic cyst fluid AFP,CEA,CA19-9
Pancreatic fluid and CSF
CEA and CA19-9
Pleural fluid LDH
Pancreatic cyst fluid CEA
Ascitic fluid CA125
Fluid AFP,CEA,HCG,CA125,CA19-9
Peritoneal fluid CA125
Ascitic fluid AFP
Pleural fluid CEA,CA19-9
Ascitic fluid CA19-9
Cyst fluid CEA,CA19-9
Whatever is requested
Some of the above would be sent off to another laboratory for analysis

## Slide 41: Question 10b-Have you validated your methods for measurement of these fluids?
Number

## Slide 42: Question 11a-Reporting of tumour marker results-upper limit of reference range
Number

## Slide 43: Question 11b-Stating the name of the method on the laboratory report
Number

## Slide 44: Question 11c-Providing interpretative comments on the laboratory report
Number

## Slide 45: Question 12-Provision of cumulative reports
Number

## Slide 46: Question 12a-If cumulative reports are produced,is this for all tumour markers?
Number

## Slide 47: Question 12b-Are all previous results cumulated?
Number

## Slide 48: Question 12c-If no,please state how many results appear on the printed report?
I result 5
2 results 1
3 results 1
4 results 2
5 results 7
6 results 4
7 results 1
8 results 0
9 results 0
10 results 2
All but one laboratory mentioned that all previous results were stored on the laboratory computer

## Slide 49: Question 12d-Are cumulative graphs from referral centres made available to the clinician?
Number

## Slide 50: Question 13-Does your laboratory regularly telephone tumour marker results?
Number

## Slide 51: Question 13a-If you telephone tumour marker results,indicate under which circumstances
Number

## Slide 52: Question 13b-Other reason
At discretion of the Duty Biochemist
When asked
HCG,AFP in a gonadal tumour
Not for oncologists who state that they look up results themselves
Duty Biochemist may decide on a case by case basis for the situation listed
Only for GPs

## Slide 53: Question 14-Does your laboratory have minimum test intervals for tumour markers?
Number

## Slide 54: Question 14a-Minimum test intervals quoted
PSA 21 days,CEA 5 days,CA125 5 days,CA19-9 5days,AFP 2 days HCG 2 days-quoted by 3 laboratories
7 days for all
13 days for all
28 days for all
CEA and CA15-3 28 days,CA125,CA19-9 21 days and PSA 7 days
CA125,AFP,HCG 7 days CA153,CA19-9,CEA 2 weeks PSA 4 weeks
13 days for all
Depends on the marker
5 days currently
Suggest 1 month for monitoring positives
4 weeks unless oncology request
21 days for most markers
Likely to introduce a 3 month rule for PSA
CEA only-3 day minimum

## Slide 55: Question 15-Has your department been involved in organising and presenting talks on the use of tumour markers to clinical staff?
Number

## Slide 56: Question 15a-If the answer is yes,state the groups this has been to
Number

## Slide 57: Question 16-Approximately what % of your requests from PSA have been from GPs?
The average was 67%
Number

## Slide 58: Question 17-Does your laboratory accept requests for free PSA?
Number

## Slide 59: Question 17a-If yes,is the assay performed in-house or sent away?
Number

## Slide 60: Question 18a-Do you provide guidance about timing of PSA measurements after digital rectal examination?
Number

## Slide 61: Question 18b-after ejaculation
Number

## Slide 62: Question 18c-after rigid cystoscopy
Number

## Slide 63: Question 18d- after prostate biopsy
Number

## Slide 64: Question 18e-after prostatectomy
Number

## Slide 65: Question 18f- after transrectal ultrasound
Number

## Slide 66: Question 18g-after transurethral resection(TURP)
Number

## Slide 67: Question 18-Guidance quoted
DRE >3 days after,before procedure and at least 1 week after (Annals)
Ejaculation >1 day after,2 days after(Annals),3 days after.Avoid sexual activity 2-3 days before blood collected
Rigid cystoscopy >14 days after,>7 days after (Annals),before procedure
Prostate biopsy >6 weeks after(Annals)3-6 weeks after,2-3 weeks after,before procedure
Prostatectomy >6 weeks after(Annals)>3-6 weeks after,2-3 weeks after,before procedure
Transrectal ultrasound >6 weeks after(Annals)>2 weeks after, 2-3 weeks after,before procedure
Transurethral resection(TURP) >6 weeks after(Annals),>3-6 weeks,2-3 weeks after,before procedure
One laboratory that did not issue guidance mentioned that this information was available on the intranet in their test knowledge database and several that this was provided in the guidance issued by their urologists and one assumed that this information was available to GPs in the guidance issued to them about the PSA test

## Slide 68: Question 18-References
Price CP,Allard J,Davies G,Dawnay A,Duffy MJ,France M et al-Pre-and post-analytical factors that may influence use of serum prostate specific antigen and its isoforms in a screening programme for prostate cancer. Ann Clin Biochem 2006 43 35-48
Prostate Cancer Risk Management Programme-information for primary care. Cancer Research UK Primary Care Education Group 2009

## Slide 69: Question 19-What is the lowest PSA concentration reported in your laboratory?
<0
<0.003,<0.004,0.008,005,<0.006,<0.05,0.007 and 0.03 ug/l were each
quoted ,each by either one or two laboratories only
Number

## Slide 70: Question 19a-Do you use a 3rd generation assay for PSA?
Number

## Slide 71: Question 19b-If yes,please state the method used
Roche 10
Roche Cobas Total PSA 5
Roche c800 3
Roche E170 8
Roche Elecys 601 2
Abbott 1
Abbott Architect 4
Beckman Unicel DXL 1
Beckman Coulter 2
Beckman Hybritech with WHO standardisation 2
Immulite 2000 3

## Slide 72: Question 20a-Does your laboratory routinely measure CA125 in asymptomatic women?
Several laboratories responded that they do not vet their requests
Number

## Slide 73: Question 20b-Does your laboratory routinely measure CA125 in women with a strong family history of ovarian cancer?
Number

## Slide 74: Question 20c-Do you routinely measure CA125 in women presenting to their GP with symptoms suggestive of ovarian cancer?
Number

## Slide 75: Question 20d-Have you seen a significant change(>10%)in your CA125 workload since publication of the NICE guideline?
Two laboratories mentioned the introduction of a gating policy in Dec
2010 to reduce unnecessary CA125 requests and this has masked an
increase due to the introduction of the 2011 NICE guidelines
Number

## Slide 76: Question 20e-If yes,approximately what% increase in workload has there been in the year to April 2012?
Percentages ranged from 12 to 300%
Number

## Slide 77: Question 20f-If possible,please indicate approximately what proportion of the increase was from general practice?
Percentages ranged from 32 to 300%.Not all could respond
Number

## Slide 78: Summary of the audit findings-1
As expected, tumour markers such as AFP,HCG,PSA,CEA and CA125 tended to be assayed on site
The more specialised tumour markers such as calcitonin,inhibin and thyroglobulin tended to be referred
Very few laboratories offered her2-neu,NSE or S100
The majority of respondents had an oncology unit on site with almost equal numbers being either a regional or peripheral site
Most laboratories did not produce guidelines for the use of tumour markers and for those that did these were largely available on their Trust intranet site
For guidelines received there was variation in the information included
The majority of laboratories had not performed a local audit of their tumour marker service and in those that had, the frequency when this was performed varied

## Slide 79: Summary of the audit findings-2
The majority of laboratories routinely reviewed their tumour marker requests with the send away requests being the most reviewed and the most common reasons for rejecting requests being a panel of markers being requested
Most laboratories did not receive requests from their Accident and Emergency departments and those that did rarely measured them
Requests from GPs were generally accepted
The majority of tumour markers were analysed from Monday to Friday during core hours and any urgent requests were normally accepted after discussion between the laboratory and the requesting clinician
Most laboratories did not measure tumour markers in cyst,pleural fluid or CSF and in those that did there was variation as to what markers were measured in what fluids with the majority having not validated their methods for these measurements.

## Slide 80: Summary of audit findings-3
All laboratories reported the upper limit of the reference range ,few stated the name of the method and most provided interpretative comments on their laboratory reports
About equal numbers of laboratories provided cumulative reports and where these were produced this was mostly for all markers
In the majority of cases, all previous reports were not cumulated
Most laboratories telephoned tumour marker results
The majority of laboratories did not have minimum test intervals for tumour markers and in those that did there was variation in intervals quoted
The majority of laboratories had not been involved in organising or presenting talks on the use of tumour markers to clinical staff
There was variation in the percentage of requests for PSA from general practice

## Slide 81: Summary of audit findings-4
Most laboratories did not offer free PSA and where offered the majority sent these to a another laboratory for assay
Most laboratories did not provide specific guidance for when PSA should be measured in relation to a number of procedures and those that did mostly quoted guidance from the publication in the 2006 Annals of Clinical Biochemistry
There was some variation in the lowest PSA concentration reported
The majority of laboratories were using a 3rd generation assay for PSA with Roche quoted as the most used analyser
About an equal number of laboratories routinely measured CA125 in asymptomatic women with the majority measuring it in those with a family history of ovarian cancer and in those presenting to their GP with symptoms suggestive of ovarian cancer
Most laboratories had seen a significant increase in CA125 requests as a result of the April 2011 NICE guideline especially from GPs